CNN Model Comparison Report

Without Weather Features  vs  With Weather Features

# 1. Executive Summary

Two 1D Convolutional Neural Network (CNN) models were trained to predict the most probable cause of electrical faults using geographical location hierarchies and Equipment Capacity (kVA). The second model (CNN-W) additionally incorporates weather condition features.

This report compares only the metrics that are fully available in both model reports. Any metric or fault category absent from either file has been excluded to ensure a fair, data-accurate comparison.

# 2. Overall Model Performance

The three headline metrics reported in both files are compared below:

| Metric | CNN (No Weather) | CNN-W (With Weather) | Better |
| --- | --- | --- | --- |
| Overall Accuracy | 44.78% | 61.73% | CNN-W |
| Validation Loss | 1.4244 | 0.8078 | CNN |
| Macro Avg F1-Score | 0.230 | 0.650 | CNN-W |

Observations:

•  Accuracy rose by +16.95 percentage points when weather data was included.

•  Validation loss fell by 43%, indicating the CNN-W model generalises substantially better.

•  Macro F1-Score nearly tripled (0.230 → 0.650), reflecting much stronger performance across fault classes.

Note: Weighted average Precision, Recall, and F1 are not included because they are only reported in the CNN file, not in CNN-W.

# 3. Per-Class Fault Metrics (Common Classes Only)

Only the four fault categories present in both model reports are compared. Classes exclusive to one model (e.g. LT Line Fault, Unbalancing, Overheated/HT Bushing, Others from CNN; NAN from CNN-W) are excluded.

| Fault Type | CNN (No Weather) |  |  | CNN-W (With Weather) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Prec. | Recall | F1 | Prec. | Recall | F1 |
| Cable Fault / Short Circuit | 0.457 | 0.643 | 0.534 | 0.661 | 0.695 | 0.678 |
| Line Fault / Line Short | 0.429 | 0.364 | 0.394 | 0.676 | 0.333 | 0.446 |
| LT Short Circuit | 0.316 | 0.322 | 0.319 | 0.391 | 0.880 | 0.542 |
| Overloading | 0.499 | 0.686 | 0.577 | 0.687 | 0.644 | 0.665 |

Observations:

•  Cable Fault / Short Circuit: CNN-W improves Precision (+0.204), Recall (+0.052), and F1 (+0.144).

•  Line Fault / Line Short: CNN-W gains in Precision (+0.247) but loses Recall (−0.031); F1 improves (+0.052).

•  LT Short Circuit: CNN-W recall jumps dramatically from 0.322 to 0.880, with F1 improving from 0.319 to 0.542.

•  Overloading: CNN-W improves Precision (+0.188) and F1 (+0.088), with a modest Recall dip (−0.042).

# 4. Recommendations

•  Adopt CNN-W as the preferred model — it outperforms CNN on every comparable headline metric.

•  Ensure consistent reporting across future model evaluations: both models should include Weighted Average metrics and identical fault category labels to enable complete comparisons.

•  Investigate the fault categories present only in CNN (LT Line Fault, Unbalancing, Others) to determine whether they were consolidated or dropped in CNN-W training, and document the rationale.

•  Maintain reliable, real-time weather data pipelines, as CNN-W performance is now dependent on weather input quality.

CNN vs CNN-W Comparative Analysis  |  Based solely on metrics available in both source reports