TRANSFORMER FAILURE PREDICTION

Model Comparison: Without Weather  vs  With Weather

Uttar Pradesh Power Distribution Grid  |  Predictive Maintenance

| 🔵 Without Weather — BiLSTM Regression Model | 🟢 With Weather — Vanilla RNN Classification Model |
| --- | --- |

# 1. Overview & Setup Comparison

| MODEL COMPARISON AT A GLANCE |  |  |
| --- | --- | --- |
| Dimension | Without Weather (RNN/BiLSTM) | With Weather (RNNW) |
| Model Architecture | Bidirectional LSTM | Vanilla RNN |
| Task Type | Regression (failure count) | Classification (Low / Med / High) |
| Records | 136,344 | 126,777 |
| Substations | N/A | 1,055 |
| Sequences Built | N/A | 119,604 |
| Input Features | 3 (count, day-of-week, month) | 19 (incl. weather, infra, history) |
| Lookback Window | 7 days | 7 days |
| Train / Test Split | 80% / 20% | Standard split |

# 2. Model Performance Comparison

| MODEL PERFORMANCE METRICS |  |  |
| --- | --- | --- |
| Metric | Without Weather (BiLSTM) | With Weather (RNNW) |
| Accuracy / R² | R² = 0.8606 (regression) | ~65% class accuracy |
| MAE | 33.57 failures/day | ~0.39 class units |
| RMSE | N/A | ~0.51 |
| Macro F1 | N/A | ~0.66 avg |
| Baseline to Beat | Mean predictor | 35.9% (most-freq class) |
| Improvement vs Baseline | 86% variance explained | Nearly doubled baseline accuracy |

# 3. With Weather — Per-Class Severity Metrics

The Without Weather model performs regression (predicting a count), so per-class metrics do not apply. The With Weather model predicts severity classes; detailed precision, recall, and F1-Score are shown below.

| WITH WEATHER — PER CLASS METRICS (RNNW) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Class | Recall | Precision | F1-Score | Count |
| Low (0) — Minor faults | ~67.5% | ~70.9% | ~69.1% | 45,558 |
| Medium (1) — Moderate impact | ~58.3% | ~63.7% | ~60.9% | 37,724 |
| High (2) — Critical / Emergency | ~70.2% | ~66.3% | ~68.2% | 43,495 |

# 4. Without Weather — Actual vs. Predicted Daily Failures

The BiLSTM model captures seasonal demand surges with an R² of 0.8606. The chart below shows test-set predictions vs. actuals.

# 5. Zone-Level Record Distribution

Both models cover the same nine zones. Minor record differences arise from pre-processing steps in the With Weather pipeline (weather join, sequence filtering).

| TOP ZONES — FAILURE RECORDS (BOTH MODELS) |  |  |  |
| --- | --- | --- | --- |
| Zone | Without Weather | With Weather | Δ Records |
| PRAYAGRAJ 2 | 36,241 (26.6%) | 33,174 (26.2%) | -3,067 |
| VARANASI 2 | 28,661 (21.0%) | 28,642 (22.6%) | -19 |
| AZAMGARH | 21,670 (15.9%) | 21,126 (16.7%) | -544 |
| MIRZAPUR | 17,920 (13.1%) | 13,169 (10.4%) | -4,751 |
| BASTI | 9,527 (7.0%) | 9,526 (7.5%) | -1 |
| GORAKHPUR 2 | 10,323 (7.6%) | 9,422 (7.4%) | -901 |
| GORAKHPUR 1 | 6,366 (4.7%) | 6,366 (5.0%) | 0 |
| VARANASI 1 | 4,620 (3.4%) | 4,618 (3.6%) | -2 |
| PRAYAGRAJ 1 | 1,016 (0.7%) | 734 (0.6%) | -282 |

# 6. Temporal Failure Trends (Without Weather Dataset)

Daily and monthly aggregation charts from the BiLSTM (Without Weather) dataset. Summer months (May–August) show pronounced failure peaks, consistent with agricultural irrigation and cooling demand.

# 7. Root Cause Distribution (Without Weather Dataset)

Overloading and line faults together account for over 43% of all recorded failures. The With Weather model uses these patterns as classification signals via the 19-feature input set.

# 8. Key Differences & When to Use Each Model

| KEY DIFFERENCES & INSIGHTS |  |
| --- | --- |
| Without Weather (BiLSTM) | With Weather (RNNW) |
| Predicts actual failure COUNT per day | Predicts failure SEVERITY class (Low/Med/High) |
| 3 simple temporal features | 19 rich features incl. heat index, humidity, wind |
| Strong R² = 0.86 — excellent for volume forecasting | ~65% accuracy — nearly 2× random baseline of 35.9% |
| Best for: scheduling crews & pre-positioning spares | Best for: triaging severity & emergency response planning |
| High class (critical) captured via count spikes | High class best predicted — weather signal is strong |
| Medium severity cannot be inferred from counts alone | Medium class hardest — overlaps with Low and High profiles |
| No weather dependency — simpler, faster to deploy | Requires weather data pipeline for real-time use |